Hey

REQUEST FOR PROPOSAL

ELECTRICIAN  —  Well Water System — Solar Tie-In, Victron & Booster Wiring

Rodriguez Residence — Maine Property

Owner / Developer:  RAC Development | Craig Engel

Date Issued:  March 05, 2026

Response Due:  ___________________________

Contact:  ___________________________

# Project Overview

RAC Development is soliciting bids for electrical work on the well water system at the Rodriguez residence in Maine. The submersible pump (Franklin Electric), pump wiring, and VFD Commander Pro are already installed and operational. Solar panels will be mounted by the fence installer — electrician picks up from the panels and wires through to the Victron system. Electrician also wires the booster pump motor at the house.

NOTE: Franklin pump, pump wire, and VFD Commander Pro are ALREADY INSTALLED and running. Do not include in bid.

NOTE: Solar panel mounting is by fence installer — NOT electrician scope.

## Scope of Work — Solar DC Wiring

Run DC cable from mounted solar array to Victron charge controller in vault

All DC fusing, disconnects, and conduit as required

Verify panel string voltage and current — document

## Scope of Work — Victron System & Battery Bank

Install and connect Victron charge controller

Install battery bank (size and spec per design)

Wire Victron inverter output to existing VFD Commander Pro

Ground fault protection and lightning arrestor as required

Label all circuits, verify system operation end-to-end

## Scope of Work — Booster Pump Motor (At House)

Wire Grundfos booster pump motor at house pressure station

Wire pressure switch (40/60 PSI) to booster pump circuit

Provide dedicated circuit and disconnect as required by code

Test booster pump operation

## Scope Exclusions

No solar panel mounting — fence installer does this

No pump wire or VFD installation — already complete

No excavation or trenching

No water lines or plumbing connections

## Bid Requirements

Lump sum price broken out by: (1) Solar DC Wiring, (2) Victron/Battery System, (3) Booster Motor at House

Estimated duration

List of similar solar/well water projects

Proof of insurance and electrical license

Payment terms

# Questions & Submittals

Submit all questions and bids in writing to the contact above by the Response Due date.

Company Name:  ___________________________

Signature:  ___________________________

Date:  ___________________________

License #:  ___________________________

Lump Sum Bid Amount:  ___________________________